## Spectrum(Ch4)
Signal Name | Spectrum(Ch4)
Device SN | 25942688
Software Used | Crystal Instruments EDM software Ver: 10.0.0.22
Instrument Used | Spider
Test Notes | Mat_sweep sine25/Run118 Untitled Test Note
Data Acquisition Time | 4/16/2026 11:12:58 AM
Signal Export Time | 4/16/2026 11:14:00 AM
User | Admin
Sampling Rate | 20.48 kHz
Block size/Line | 2048 / 2048
X Axis Data Start | 4/16/2026 11:12:58 AM
X Axis Data Resolution | 1.000787
Acquisition/Calculation Method | Undefined
Amplitude Scaling | 0-Peak
Average Mode | Linear
Signal Type | Frequency
Display Format of Y Axis | LogMag
Default Spectrum Type | EUpeak
Unit of X | Frequency (Hz)
Unit of Y | LogMag g
Spectrum Format | Power Spectrum
Window Type | Hanning
Window Correction Mode | Amplitude
Energy Factor | 0.09375
Amplitude Factor | 0.125
X:Frequency (Hz) | Y:LogMag g
20 | 0.79481
20.0157 | 0.79482
20.0315 | 0.79491
20.0472 | 0.79511
20.063 | 0.79565
20.0788 | 0.79639
20.0946 | 0.79726
20.1104 | 0.79791
20.1262 | 0.79902
20.142 | 0.80027
20.1579 | 0.80167
20.1737 | 0.80269
20.1896 | 0.80444
20.2055 | 0.80633
20.2214 | 0.80754
20.2373 | 0.80923
20.2532 | 0.8108
20.2691 | 0.81238
20.2851 | 0.81346
20.301 | 0.8151
20.317 | 0.81673
20.333 | 0.81784
20.349 | 0.81953
20.365 | 0.8212
20.381 | 0.82284
20.397 | 0.82393
20.413 | 0.82558
20.4291 | 0.8272
20.4452 | 0.82879
20.4613 | 0.82987
20.4773 | 0.83152
20.4935 | 0.83323
20.5096 | 0.83438
20.5257 | 0.83608
20.5418 | 0.83782
20.558 | 0.83968
20.5742 | 0.841
20.5904 | 0.84301
20.6066 | 0.84491
20.6228 | 0.84609
20.639 | 0.84777
20.6552 | 0.84949
20.6715 | 0.85134
20.6877 | 0.85266
20.704 | 0.85475
20.7203 | 0.85685
20.7366 | 0.85884
20.7529 | 0.86011
20.7692 | 0.86206
20.7855 | 0.86413
20.8019 | 0.86556
20.8183 | 0.86771
20.8346 | 0.86982
20.851 | 0.87183
20.8674 | 0.87313
20.8838 | 0.87505
20.9003 | 0.877
20.9167 | 0.87833
20.9331 | 0.88038
20.9496 | 0.88246
20.9661 | 0.88458
20.9826 | 0.88603
20.9991 | 0.88825
21.0156 | 0.89054
21.0321 | 0.89286
21.0487 | 0.89442
21.0652 | 0.89677
21.0818 | 0.89915
21.0984 | 0.90074
21.115 | 0.90315
21.1316 | 0.90557
21.1482 | 0.90808
21.1648 | 0.90983
21.1815 | 0.91256
21.1981 | 0.91536
21.2148 | 0.9172
21.2315 | 0.91992
21.2482 | 0.9226
21.2649 | 0.92524
21.2816 | 0.92701
21.2984 | 0.92971
21.3151 | 0.93241
21.3319 | 0.93503
21.3487 | 0.9367
21.3655 | 0.93913
21.3823 | 0.94151
21.3991 | 0.94312
21.4159 | 0.94568
21.4328 | 0.94842
21.4496 | 0.95131
21.4665 | 0.95322
21.4834 | 0.95607
21.5003 | 0.95883
21.5172 | 0.96064
21.5341 | 0.96336
21.551 | 0.96619
21.568 | 0.96921
21.585 | 0.97129
21.6019 | 0.97437
21.6189 | 0.97728
21.6359 | 0.98003
21.653 | 0.98185
21.67 | 0.98467
21.687 | 0.98763
21.7041 | 0.98966
21.7212 | 0.99265
21.7382 | 0.99542
21.7553 | 0.99799
21.7725 | 0.99967
21.7896 | 1.0023
21.8067 | 1.0052
21.8239 | 1.0072
21.841 | 1.0103
21.8582 | 1.0133
21.8754 | 1.0163
21.8926 | 1.0184
21.9098 | 1.0217
21.9271 | 1.0251
21.9443 | 1.0286
21.9616 | 1.0309
21.9788 | 1.0342
21.9961 | 1.0374
22.0134 | 1.0395
22.0307 | 1.0426
22.0481 | 1.0457
22.0654 | 1.0488
22.0828 | 1.0508
22.1001 | 1.054
22.1175 | 1.0573
22.1349 | 1.0595
22.1523 | 1.0629
22.1698 | 1.0663
22.1872 | 1.0696
22.2046 | 1.0719
22.2221 | 1.0752
22.2396 | 1.0785
22.2571 | 1.0819
22.2746 | 1.0841
22.2921 | 1.0872
22.3096 | 1.0901
22.3272 | 1.092
22.3447 | 1.0948
22.3623 | 1.0975
22.3799 | 1.1003
22.3975 | 1.1023
22.4151 | 1.1053
22.4328 | 1.1083
22.4504 | 1.1102
22.4681 | 1.113
22.4857 | 1.1157
22.5034 | 1.1183
22.5211 | 1.12
22.5388 | 1.1224
22.5566 | 1.1248
22.5743 | 1.127
22.5921 | 1.1284
22.6098 | 1.1303
22.6276 | 1.1322
22.6454 | 1.1333
22.6632 | 1.135
22.681 | 1.1366
22.6989 | 1.1382
22.7167 | 1.1392
22.7346 | 1.1406
22.7525 | 1.1418
22.7704 | 1.1425
22.7883 | 1.1433
22.8062 | 1.1439
22.8242 | 1.1443
22.8421 | 1.1445
22.8601 | 1.1446
22.8781 | 1.1445
22.8961 | 1.1442
22.9141 | 1.1438
22.9321 | 1.1431
22.9501 | 1.1423
22.9682 | 1.1417
22.9862 | 1.1406
23.0043 | 1.1393
23.0224 | 1.1379
23.0405 | 1.1367
23.0586 | 1.1347
23.0768 | 1.1324
23.0949 | 1.1309
23.1131 | 1.1285
23.1313 | 1.126
23.1495 | 1.1233
23.1677 | 1.1215
23.1859 | 1.1186
23.2041 | 1.1156
23.2224 | 1.1124
23.2407 | 1.1103
23.2589 | 1.1073
23.2772 | 1.1043
23.2955 | 1.1023
23.3139 | 1.0992
23.3322 | 1.0962
23.3505 | 1.0932
23.3689 | 1.0912
23.3873 | 1.0883
23.4057 | 1.0855
23.4241 | 1.0837
23.4425 | 1.081
23.461 | 1.0782
23.4794 | 1.0756
23.4979 | 1.0739
23.5164 | 1.0717
23.5349 | 1.0695
23.5534 | 1.0674
23.5719 | 1.0661
23.5904 | 1.0645
23.609 | 1.0631
23.6276 | 1.0624
23.6461 | 1.0615
23.6647 | 1.0609
23.6834 | 1.0607
23.702 | 1.0607
23.7206 | 1.0608
23.7393 | 1.0613
23.758 | 1.0618
23.7766 | 1.0626
23.7953 | 1.0635
23.8141 | 1.0646
23.8328 | 1.0654
23.8515 | 1.0668
23.8703 | 1.0684
23.8891 | 1.0703
23.9079 | 1.0716
23.9267 | 1.0738
23.9455 | 1.0761
23.9643 | 1.0776
23.9832 | 1.0803
24.002 | 1.0833
24.0209 | 1.0866
24.0398 | 1.089
24.0587 | 1.0929
24.0776 | 1.0967
24.0966 | 1.0992
24.1155 | 1.103
24.1345 | 1.1071
24.1535 | 1.1114
24.1725 | 1.1144
24.1915 | 1.1189
24.2105 | 1.1234
24.2296 | 1.1279
24.2486 | 1.1309
24.2677 | 1.1354
24.2868 | 1.1403
24.3059 | 1.1438
24.325 | 1.1491
24.3441 | 1.1543
24.3633 | 1.1595
24.3824 | 1.1632
24.4016 | 1.1688
24.4208 | 1.1744
24.44 | 1.1804
24.4592 | 1.1844
24.4785 | 1.1905
24.4977 | 1.1965
24.517 | 1.2006
24.5363 | 1.2069
24.5556 | 1.2137
24.5749 | 1.2206
24.5942 | 1.2252
24.6136 | 1.2321
24.6329 | 1.2389
24.6523 | 1.2434
24.6717 | 1.2502
24.6911 | 1.2572
24.7105 | 1.2644
24.73 | 1.2693
24.7494 | 1.2766
24.7689 | 1.2839
24.7884 | 1.2911
24.8079 | 1.296
24.8274 | 1.3036
24.8469 | 1.3115
24.8664 | 1.3168
24.886 | 1.3247
24.9056 | 1.3326
24.9252 | 1.3405
24.9448 | 1.3459
24.9644 | 1.354
24.984 | 1.3622
25.0037 | 1.3677
25.0233 | 1.3758
25.043 | 1.3836
25.0627 | 1.3915
25.0824 | 1.3971
25.1022 | 1.406
25.1219 | 1.4152
25.1417 | 1.4243
25.1614 | 1.4302
25.1812 | 1.439
25.201 | 1.4482
25.2209 | 1.4546
25.2407 | 1.4646
25.2605 | 1.4748
25.2804 | 1.4849
25.3003 | 1.4915
25.3202 | 1.5015
25.3401 | 1.5117
25.36 | 1.5187
25.38 | 1.5293
25.4 | 1.5403
25.4199 | 1.5512
25.4399 | 1.5583
25.4599 | 1.5691
25.48 | 1.5804
25.5 | 1.5921
25.5201 | 1.6
25.5401 | 1.6118
25.5602 | 1.6236
25.5803 | 1.6317
25.6004 | 1.6439
25.6206 | 1.6564
25.6407 | 1.6691
25.6609 | 1.6777
25.6811 | 1.6905
25.7013 | 1.7033
25.7215 | 1.7118
25.7417 | 1.7248
25.762 | 1.738
25.7822 | 1.7515
25.8025 | 1.7608
25.8228 | 1.7751
25.8431 | 1.7894
25.8634 | 1.8039
25.8838 | 1.8138
25.9041 | 1.8289
25.9245 | 1.8445
25.9449 | 1.8551
25.9653 | 1.8711
25.9857 | 1.8873
26.0062 | 1.9037
26.0266 | 1.9145
26.0471 | 1.9306
26.0676 | 1.9471
26.0881 | 1.9583
26.1086 | 1.9755
26.1292 | 1.9929
26.1497 | 2.0106
26.1703 | 2.0226
26.1909 | 2.0412
26.2115 | 2.0601
26.2321 | 2.0793
26.2527 | 2.0923
26.2734 | 2.1124
26.294 | 2.1331
26.3147 | 2.1471
26.3354 | 2.1682
26.3561 | 2.1894
26.3768 | 2.2111
26.3976 | 2.2256
26.4184 | 2.2475
26.4391 | 2.2695
26.4599 | 2.2846
26.4807 | 2.3082
26.5016 | 2.3328
26.5224 | 2.3577
26.5433 | 2.3744
26.5642 | 2.4
26.585 | 2.4263
26.606 | 2.4532
26.6269 | 2.4716
26.6478 | 2.4996
26.6688 | 2.5283
26.6898 | 2.5476
26.7108 | 2.5769
26.7318 | 2.6068
26.7528 | 2.6376
26.7738 | 2.6587
26.7949 | 2.691
26.816 | 2.7241
26.8371 | 2.7465
26.8582 | 2.7806
26.8793 | 2.8156
26.9004 | 2.8517
26.9216 | 2.8764
26.9428 | 2.914
26.964 | 2.9523
26.9852 | 2.9914
27.0064 | 3.0181
27.0276 | 3.0592
27.0489 | 3.1019
27.0702 | 3.1312
27.0915 | 3.1765
27.1128 | 3.2234
27.1341 | 3.2715
27.1554 | 3.3042
27.1768 | 3.3543
27.1982 | 3.4059
27.2196 | 3.4412
27.241 | 3.4957
27.2624 | 3.5513
27.2838 | 3.608
27.3053 | 3.6465
27.3268 | 3.7053
27.3483 | 3.7661
27.3698 | 3.829
27.3913 | 3.8723
27.4129 | 3.9389
27.4344 | 4.0073
27.456 | 4.0536
27.4776 | 4.1244
27.4992 | 4.1971
27.5208 | 4.2723
27.5425 | 4.3238
27.5641 | 4.4031
27.5858 | 4.4848
27.6075 | 4.5406
27.6292 | 4.6262
27.651 | 4.7145
27.6727 | 4.8061
27.6945 | 4.8693
27.7163 | 4.9676
27.7381 | 5.0703
27.7599 | 5.1773
27.7817 | 5.2513
27.8036 | 5.3663
27.8254 | 5.4867
27.8473 | 5.5701
27.8692 | 5.7003
27.8911 | 5.837
27.9131 | 5.9803
27.935 | 6.0796
27.957 | 6.2343
27.979 | 6.3965
28.001 | 6.5088
28.023 | 6.6842
28.0451 | 6.8681
28.0671 | 7.0609
28.0892 | 7.1945
28.1113 | 7.4023
28.1334 | 7.6195
28.1555 | 7.8467
28.1777 | 8.0039
28.1998 | 8.2488
28.222 | 8.5049
28.2442 | 8.682
28.2664 | 8.958
28.2887 | 9.2467
28.3109 | 9.5489
28.3332 | 9.7583
28.3555 | 10.085
28.3778 | 10.4277
28.4001 | 10.6655
28.4224 | 11.0364
28.4448 | 11.4249
28.4672 | 11.8311
28.4896 | 12.112
28.512 | 12.5483
28.5344 | 13.0026
28.5568 | 13.4751
28.5793 | 13.7999
28.6018 | 14.3009
28.6243 | 14.8168
28.6468 | 15.1681
28.6693 | 15.7049
28.6919 | 16.254
28.7144 | 16.8169
28.737 | 17.1998
28.7596 | 17.783
28.7822 | 18.3705
28.8049 | 18.7602
28.8275 | 19.3342
28.8502 | 19.8848
28.8729 | 20.3969
28.8956 | 20.7085
28.9183 | 21.1177
28.9411 | 21.4403
28.9638 | 21.6596
28.9866 | 21.7419
29.0094 | 21.7627
29.0322 | 21.6523
29.0551 | 21.5024
29.0779 | 21.1618
29.1008 | 20.6852
29.1237 | 20.0822
29.1466 | 19.6166
29.1695 | 18.8364
29.1925 | 17.9754
29.2154 | 17.3664
29.2384 | 16.4148
29.2614 | 15.4334
29.2844 | 14.4443
29.3075 | 13.7927
29.3305 | 12.844
29.3536 | 11.9449
29.3767 | 11.1079
29.3998 | 10.5892
29.4229 | 9.8754
29.446 | 9.2418
29.4692 | 8.8637
29.4924 | 8.3606
29.5156 | 7.9296
29.5388 | 7.5643
29.562 | 7.3524
29.5853 | 7.0731
29.6085 | 6.8306
29.6318 | 6.6854
29.6551 | 6.4875
29.6785 | 6.3081
29.7018 | 6.1415
29.7252 | 6.0355
29.7485 | 5.8813
29.7719 | 5.7312
29.7954 | 5.5843
29.8188 | 5.4881
29.8423 | 5.3468
29.8657 | 5.2094
29.8892 | 5.1203
29.9127 | 4.9904
29.9363 | 4.8655
29.9598 | 4.7459
29.9834 | 4.6696
30.0069 | 4.5605
30.0305 | 4.4579
30.0542 | 4.3926
30.0778 | 4.2989
30.1015 | 4.2094
30.1251 | 4.1237
30.1488 | 4.0686
30.1725 | 3.9891
30.1963 | 3.9131
30.22 | 3.84
30.2438 | 3.7928
30.2676 | 3.7237
30.2914 | 3.6568
30.3152 | 3.6135
30.3391 | 3.5504
30.3629 | 3.4894
30.3868 | 3.4305
30.4107 | 3.3923
30.4346 | 3.3368
30.4586 | 3.2832
30.4825 | 3.2486
30.5065 | 3.1981
30.5305 | 3.1491
30.5545 | 3.1012
30.5785 | 3.07
30.6026 | 3.0244
30.6267 | 2.9804
30.6508 | 2.9382
30.6749 | 2.9107
30.699 | 2.8704
30.7231 | 2.831
30.7473 | 2.8053
30.7715 | 2.7674
30.7957 | 2.7306
30.8199 | 2.6948
30.8441 | 2.6716
30.8684 | 2.6377
30.8927 | 2.6046
30.917 | 2.583
30.9413 | 2.5512
30.9656 | 2.5202
30.99 | 2.49
31.0144 | 2.4703
31.0388 | 2.4415
31.0632 | 2.4135
31.0876 | 2.386
31.1121 | 2.3677
31.1365 | 2.3406
31.161 | 2.314
31.1855 | 2.2967
31.2101 | 2.2711
31.2346 | 2.2459
31.2592 | 2.2211
31.2838 | 2.2048
31.3084 | 2.1808
31.333 | 2.1574
31.3576 | 2.1423
31.3823 | 2.1206
31.407 | 2.0997
31.4317 | 2.0789
31.4564 | 2.0649
31.4812 | 2.044
31.5059 | 2.0237
31.5307 | 2.004
31.5555 | 1.991
31.5803 | 1.9714
31.6052 | 1.9518
31.63 | 1.9388
31.6549 | 1.9195
31.6798 | 1.9006
31.7047 | 1.8825
31.7296 | 1.871
31.7546 | 1.8544
31.7796 | 1.8383
31.8046 | 1.8277
31.8296 | 1.8119
31.8546 | 1.7965
31.8797 | 1.7813
31.9048 | 1.7712
31.9299 | 1.7563
31.955 | 1.7418
31.9801 | 1.7273
32.0053 | 1.7175
32.0304 | 1.7032
32.0556 | 1.6895
32.0808 | 1.6807
32.1061 | 1.6677
32.1313 | 1.6549
32.1566 | 1.6424
32.1819 | 1.6341
32.2072 | 1.6215
32.2325 | 1.6089
32.2579 | 1.6009
32.2833 | 1.5893
32.3086 | 1.578
32.3341 | 1.5663
32.3595 | 1.5583
32.3849 | 1.5464
32.4104 | 1.5346
32.4359 | 1.5229
32.4614 | 1.5154
32.487 | 1.5047
32.5125 | 1.4944
32.5381 | 1.4874
32.5637 | 1.4767
32.5893 | 1.4658
32.6149 | 1.4553
32.6406 | 1.4485
32.6662 | 1.4384
32.6919 | 1.4283
32.7176 | 1.4217
32.7434 | 1.412
32.7691 | 1.4021
32.7949 | 1.3919
32.8207 | 1.3853
32.8465 | 1.376
32.8724 | 1.3671
32.8982 | 1.3582
32.9241 | 1.3522
32.95 | 1.3434
32.9759 | 1.3349
33.0018 | 1.3291
33.0278 | 1.3204
33.0538 | 1.3119
33.0798 | 1.3037
33.1058 | 1.2982
33.1318 | 1.2898
33.1579 | 1.2815
33.184 | 1.2762
33.2101 | 1.2683
33.2362 | 1.2606
33.2623 | 1.253
33.2885 | 1.2481
33.3147 | 1.2408
33.3409 | 1.2336
33.3671 | 1.2262
33.3933 | 1.2214
33.4196 | 1.2141
33.4459 | 1.207
33.4722 | 1.2022
33.4985 | 1.1952
33.5249 | 1.1883
33.5512 | 1.1816
33.5776 | 1.1772
33.604 | 1.1705
33.6305 | 1.1636
33.6569 | 1.1591
33.6834 | 1.1525
33.7099 | 1.1459
33.7364 | 1.1394
33.7629 | 1.1351
33.7895 | 1.1287
33.8161 | 1.1222
33.8427 | 1.1157
33.8693 | 1.1115
33.8959 | 1.1053
33.9226 | 1.0994
33.9493 | 1.0955
33.976 | 1.0896
34.0027 | 1.0837
34.0294 | 1.0781
34.0562 | 1.0743
34.083 | 1.0686
34.1098 | 1.0629
34.1366 | 1.0591
34.1635 | 1.0534
34.1904 | 1.0476
34.2173 | 1.0418
34.2442 | 1.038
34.2711 | 1.0325
34.2981 | 1.0271
34.325 | 1.0218
34.352 | 1.0201
34.379 | 0
34.4061 | 0
34.4332 | 0
34.4602 | 0
34.4873 | 0
34.5145 | 0
34.5416 | 0
34.5688 | 0
34.596 | 0
34.6232 | 0
34.6504 | 0
34.6777 | 0
34.7049 | 0
34.7322 | 0
34.7596 | 0
34.7869 | 0
34.8143 | 0
34.8416 | 0
34.869 | 0
34.8965 | 0
34.9239 | 0
34.9514 | 0
34.9789 | 0
35.0064 | 0
35.0339 | 0
35.0615 | 0
35.0891 | 0
35.1167 | 0
35.1443 | 0
35.1719 | 0
35.1996 | 0
35.2273 | 0
35.255 | 0
35.2827 | 0
35.3105 | 0
35.3382 | 0
35.366 | 0
35.3938 | 0
35.4217 | 0
35.4495 | 0
35.4774 | 0
35.5053 | 0
35.5333 | 0
35.5612 | 0
35.5892 | 0
35.6172 | 0
35.6452 | 0
35.6732 | 0
35.7013 | 0
35.7294 | 0
35.7575 | 0
35.7856 | 0
35.8137 | 0
35.8419 | 0
35.8701 | 0
35.8983 | 0
35.9265 | 0
35.9548 | 0
35.9831 | 0
36.0114 | 0
36.0397 | 0
36.0681 | 0
36.0964 | 0
36.1248 | 0
36.1532 | 0
36.1817 | 0
36.2101 | 0
36.2386 | 0
36.2671 | 0
36.2956 | 0
36.3242 | 0
36.3528 | 0
36.3813 | 0
36.41 | 0
36.4386 | 0
36.4673 | 0
36.4959 | 0
36.5246 | 0
36.5534 | 0
36.5821 | 0
36.6109 | 0
36.6397 | 0
36.6685 | 0
36.6974 | 0
36.7262 | 0
36.7551 | 0
36.784 | 0
36.8129 | 0
36.8419 | 0
36.8709 | 0
36.8999 | 0
36.9289 | 0
36.958 | 0
36.987 | 0
37.0161 | 0
37.0452 | 0
37.0744 | 0
37.1035 | 0
37.1327 | 0
37.1619 | 0
37.1911 | 0
37.2204 | 0
37.2497 | 0
37.279 | 0
37.3083 | 0
37.3376 | 0
37.367 | 0
37.3964 | 0
37.4258 | 0
37.4552 | 0
37.4847 | 0
37.5142 | 0
37.5437 | 0
37.5732 | 0
37.6028 | 0
37.6324 | 0
37.662 | 0
37.6916 | 0
37.7212 | 0
37.7509 | 0
37.7806 | 0
37.8103 | 0
37.84 | 0
37.8698 | 0
37.8996 | 0
37.9294 | 0
37.9592 | 0
37.9891 | 0
38.019 | 0
38.0489 | 0
38.0788 | 0
38.1088 | 0
38.1387 | 0
38.1687 | 0
38.1987 | 0
38.2288 | 0
38.2589 | 0
38.2889 | 0
38.3191 | 0
38.3492 | 0
38.3794 | 0
38.4096 | 0
38.4398 | 0
38.47 | 0
38.5003 | 0
38.5305 | 0
38.5608 | 0
38.5912 | 0
38.6215 | 0
38.6519 | 0
38.6823 | 0
38.7127 | 0
38.7432 | 0
38.7737 | 0
38.8042 | 0
38.8347 | 0
38.8652 | 0
38.8958 | 0
38.9264 | 0
38.957 | 0
38.9876 | 0
39.0183 | 0
39.049 | 0
39.0797 | 0
39.1104 | 0
39.1412 | 0
39.172 | 0
39.2028 | 0
39.2336 | 0
39.2645 | 0
39.2954 | 0
39.3263 | 0
39.3572 | 0
39.3882 | 0
39.4192 | 0
39.4502 | 0
39.4812 | 0
39.5122 | 0
39.5433 | 0
39.5744 | 0
39.6056 | 0
39.6367 | 0
39.6679 | 0
39.6991 | 0
39.7303 | 0
39.7616 | 0
39.7928 | 0
39.8241 | 0
39.8555 | 0
39.8868 | 0
39.9182 | 0
39.9496 | 0
39.981 | 0
40.0124 | 0
40.0439 | 0
40.0754 | 0
40.1069 | 0
40.1385 | 0
40.17 | 0
40.2016 | 0
40.2333 | 0
40.2649 | 0
40.2966 | 0
40.3283 | 0
40.36 | 0
40.3917 | 0
40.4235 | 0
40.4553 | 0
40.4871 | 0
40.519 | 0
40.5508 | 0
40.5827 | 0
40.6147 | 0
40.6466 | 0
40.6786 | 0
40.7106 | 0
40.7426 | 0
40.7746 | 0
40.8067 | 0
40.8388 | 0
40.8709 | 0
40.9031 | 0
40.9352 | 0
40.9674 | 0
40.9997 | 0
41.0319 | 0
41.0642 | 0
41.0965 | 0
41.1288 | 0
41.1611 | 0
41.1935 | 0
41.2259 | 0
41.2584 | 0
41.2908 | 0
41.3233 | 0
41.3558 | 0
41.3883 | 0
41.4209 | 0
41.4534 | 0
41.486 | 0
41.5187 | 0
41.5513 | 0
41.584 | 0
41.6167 | 0
41.6495 | 0
41.6822 | 0
41.715 | 0
41.7478 | 0
41.7806 | 0
41.8135 | 0
41.8464 | 0
41.8793 | 0
41.9123 | 0
41.9452 | 0
41.9782 | 0
42.0112 | 0
42.0443 | 0
42.0773 | 0
42.1104 | 0
42.1436 | 0
42.1767 | 0
42.2099 | 0
42.2431 | 0
42.2763 | 0
42.3096 | 0
42.3428 | 0
42.3761 | 0
42.4095 | 0
42.4428 | 0
42.4762 | 0
42.5096 | 0
42.5431 | 0
42.5765 | 0
42.61 | 0
42.6435 | 0
42.6771 | 0
42.7106 | 0
42.7442 | 0
42.7778 | 0
42.8115 | 0
42.8452 | 0
42.8789 | 0
42.9126 | 0
42.9463 | 0
42.9801 | 0
43.0139 | 0
43.0478 | 0
43.0816 | 0
43.1155 | 0
43.1494 | 0
43.1834 | 0
43.2173 | 0
43.2513 | 0
43.2853 | 0
43.3194 | 0
43.3534 | 0
43.3875 | 0
43.4217 | 0
43.4558 | 0
43.49 | 0
43.5242 | 0
43.5584 | 0
43.5927 | 0
43.627 | 0
43.6613 | 0
43.6957 | 0
43.73 | 0
43.7644 | 0
43.7988 | 0
43.8333 | 0
43.8678 | 0
43.9023 | 0
43.9368 | 0
43.9714 | 0
44.0059 | 0
44.0406 | 0
44.0752 | 0
44.1099 | 0
44.1446 | 0
44.1793 | 0
44.214 | 0
44.2488 | 0
44.2836 | 0
44.3184 | 0
44.3533 | 0
44.3882 | 0
44.4231 | 0
44.458 | 0
44.493 | 0
44.528 | 0
44.563 | 0
44.5981 | 0
44.6332 | 0
44.6683 | 0
44.7034 | 0
44.7386 | 0
44.7737 | 0
44.809 | 0
44.8442 | 0
44.8795 | 0
44.9148 | 0
44.9501 | 0
44.9855 | 0
45.0208 | 0
45.0563 | 0
45.0917 | 0
45.1272 | 0
45.1626 | 0
45.1982 | 0
45.2337 | 0
45.2693 | 0
45.3049 | 0
45.3405 | 0
45.3762 | 0
45.4119 | 0
45.4476 | 0
45.4834 | 0
45.5191 | 0
45.5549 | 0
45.5908 | 0
45.6266 | 0
45.6625 | 0
45.6984 | 0
45.7344 | 0
45.7703 | 0
45.8063 | 0
45.8424 | 0
45.8784 | 0
45.9145 | 0
45.9506 | 0
45.9868 | 0
46.0229 | 0
46.0591 | 0
46.0954 | 0
46.1316 | 0
46.1679 | 0
46.2042 | 0
46.2406 | 0
46.2769 | 0
46.3133 | 0
46.3498 | 0
46.3862 | 0
46.4227 | 0
46.4592 | 0
46.4958 | 0
46.5323 | 0
46.5689 | 0
46.6056 | 0
46.6422 | 0
46.6789 | 0
46.7156 | 0
46.7524 | 0
46.7891 | 0
46.8259 | 0
46.8628 | 0
46.8996 | 0
46.9365 | 0
46.9734 | 0
47.0104 | 0
47.0474 | 0
47.0844 | 0
47.1214 | 0
47.1585 | 0
47.1955 | 0
47.2327 | 0
47.2698 | 0
47.307 | 0
47.3442 | 0
47.3814 | 0
47.4187 | 0
47.456 | 0
47.4933 | 0
47.5307 | 0
47.5681 | 0
47.6055 | 0
47.6429 | 0
47.6804 | 0
47.7179 | 0
47.7554 | 0
47.793 | 0
47.8306 | 0
47.8682 | 0
47.9059 | 0
47.9435 | 0
47.9813 | 0
48.019 | 0
48.0568 | 0
48.0946 | 0
48.1324 | 0
48.1702 | 0
48.2081 | 0
48.2461 | 0
48.284 | 0
48.322 | 0
48.36 | 0
48.398 | 0
48.4361 | 0
48.4742 | 0
48.5123 | 0
48.5505 | 0
48.5887 | 0
48.6269 | 0
48.6651 | 0
48.7034 | 0
48.7417 | 0
48.78 | 0
48.8184 | 0
48.8568 | 0
48.8952 | 0
48.9337 | 0
48.9722 | 0
49.0107 | 0
49.0493 | 0
49.0878 | 0
49.1264 | 0
49.1651 | 0
49.2038 | 0
49.2425 | 0
49.2812 | 0
49.3199 | 0
49.3587 | 0
49.3976 | 0
49.4364 | 0
49.4753 | 0
49.5142 | 0
49.5532 | 0
49.5921 | 0
49.6311 | 0
49.6702 | 0
49.7092 | 0
49.7483 | 0
49.7875 | 0
49.8266 | 0
49.8658 | 0
49.905 | 0
49.9443 | 0
49.9836 | 0
50.0229 | 0
50.0622 | 0
50.1016 | 0
50.141 | 0
50.1805 | 0
50.2199 | 0
50.2594 | 0
50.299 | 0
50.3385 | 0
50.3781 | 0
50.4177 | 0
50.4574 | 0
50.4971 | 0
50.5368 | 0
50.5766 | 0
50.6163 | 0
50.6561 | 0
50.696 | 0
50.7359 | 0
50.7758 | 0
50.8157 | 0
50.8557 | 0
50.8957 | 0
50.9357 | 0
50.9758 | 0
51.0159 | 0
51.056 | 0
51.0961 | 0
51.1363 | 0
51.1766 | 0
51.2168 | 0
51.2571 | 0
51.2974 | 0
51.3378 | 0
51.3781 | 0
51.4185 | 0
51.459 | 0
51.4995 | 0
51.54 | 0
51.5805 | 0
51.6211 | 0
51.6617 | 0
51.7023 | 0
51.743 | 0
51.7837 | 0
51.8244 | 0
51.8652 | 0
51.906 | 0
51.9468 | 0
51.9877 | 0
52.0285 | 0
52.0695 | 0
52.1104 | 0
52.1514 | 0
52.1924 | 0
52.2335 | 0
52.2746 | 0
52.3157 | 0
52.3568 | 0
52.398 | 0
52.4392 | 0
52.4805 | 0
52.5217 | 0
52.5631 | 0
52.6044 | 0
52.6458 | 0
52.6872 | 0
52.7286 | 0
52.7701 | 0
52.8116 | 0
52.8531 | 0
52.8947 | 0
52.9363 | 0
52.978 | 0
53.0196 | 0
53.0613 | 0
53.1031 | 0
53.1448 | 0
53.1866 | 0
53.2285 | 0
53.2703 | 0
53.3122 | 0
53.3542 | 0
53.3961 | 0
53.4381 | 0
53.4802 | 0
53.5222 | 0
53.5643 | 0
53.6064 | 0
53.6486 | 0
53.6908 | 0
53.733 | 0
53.7753 | 0
53.8176 | 0
53.8599 | 0
53.9023 | 0
53.9447 | 0
53.9871 | 0
54.0296 | 0
54.0721 | 0
54.1146 | 0
54.1572 | 0
54.1998 | 0
54.2424 | 0
54.2851 | 0
54.3278 | 0
54.3705 | 0
54.4133 | 0
54.4561 | 0
54.4989 | 0
54.5418 | 0
54.5847 | 0
54.6276 | 0
54.6706 | 0
54.7136 | 0
54.7566 | 0
54.7997 | 0
54.8428 | 0
54.8859 | 0
54.9291 | 0
54.9723 | 0
55.0155 | 0
55.0588 | 0
55.1021 | 0
55.1454 | 0
55.1888 | 0
55.2322 | 0
55.2756 | 0
55.3191 | 0
55.3626 | 0
55.4062 | 0
55.4498 | 0
55.4934 | 0
55.537 | 0
55.5807 | 0
55.6244 | 0
55.6682 | 0
55.712 | 0
55.7558 | 0
55.7996 | 0
55.8435 | 0
55.8874 | 0
55.9314 | 0
55.9754 | 0
56.0194 | 0
56.0635 | 0
56.1076 | 0
56.1517 | 0
56.1959 | 0
56.2401 | 0
56.2843 | 0
56.3286 | 0
56.3729 | 0
56.4172 | 0
56.4616 | 0
56.506 | 0
56.5505 | 0
56.5949 | 0
56.6394 | 0
56.684 | 0
56.7286 | 0
56.7732 | 0
56.8179 | 0
56.8625 | 0
56.9073 | 0
56.952 | 0
56.9968 | 0
57.0417 | 0
57.0865 | 0
57.1314 | 0
57.1764 | 0
57.2213 | 0
57.2663 | 0
57.3114 | 0
57.3565 | 0
57.4016 | 0
57.4467 | 0
57.4919 | 0
57.5371 | 0
57.5824 | 0
57.6277 | 0
57.673 | 0
57.7184 | 0
57.7638 | 0
57.8092 | 0
57.8547 | 0
57.9002 | 0
57.9457 | 0
57.9913 | 0
58.0369 | 0
58.0825 | 0
58.1282 | 0
58.174 | 0
58.2197 | 0
58.2655 | 0
58.3113 | 0
58.3572 | 0
58.4031 | 0
58.449 | 0
58.495 | 0
58.541 | 0
58.5871 | 0
58.6331 | 0
58.6793 | 0
58.7254 | 0
58.7716 | 0
58.8178 | 0
58.8641 | 0
58.9104 | 0
58.9567 | 0
59.0031 | 0
59.0495 | 0
59.0959 | 0
59.1424 | 0
59.1889 | 0
59.2355 | 0
59.2821 | 0
59.3287 | 0
59.3754 | 0
59.4221 | 0
59.4688 | 0
59.5156 | 0
59.5624 | 0
59.6093 | 0
59.6561 | 0
59.7031 | 0
59.75 | 0
59.797 | 0
59.8441 | 0
59.8911 | 0
59.9382 | 0
59.9854 | 0
60.0326 | 0
60.0798 | 0
60.127 | 0
60.1743 | 0
60.2217 | 0
60.269 | 0
60.3164 | 0
60.3639 | 0
60.4113 | 0
60.4589 | 0
60.5064 | 0
60.554 | 0
60.6016 | 0
60.6493 | 0
60.697 | 0
60.7447 | 0
60.7925 | 0
60.8403 | 0
60.8882 | 0
60.9361 | 0
60.984 | 0
61.032 | 0
61.08 | 0
61.128 | 0
61.1761 | 0
61.2242 | 0
61.2724 | 0
61.3206 | 0
61.3688 | 0
61.4171 | 0
61.4654 | 0
61.5137 | 0
61.5621 | 0
61.6105 | 0
61.659 | 0
61.7075 | 0
61.756 | 0
61.8046 | 0
61.8532 | 0
61.9019 | 0
61.9505 | 0
61.9993 | 0
62.048 | 0
62.0968 | 0
62.1457 | 0
62.1946 | 0
62.2435 | 0
62.2924 | 0
62.3414 | 0
62.3905 | 0
62.4395 | 0
62.4887 | 0
62.5378 | 0
62.587 | 0
62.6362 | 0
62.6855 | 0
62.7348 | 0
62.7841 | 0
62.8335 | 0
62.8829 | 0
62.9324 | 0
62.9819 | 0
63.0314 | 0
63.081 | 0
63.1306 | 0
63.1803 | 0
63.23 | 0
63.2797 | 0
63.3295 | 0
63.3793 | 0
63.4291 | 0
63.479 | 0
63.529 | 0
63.5789 | 0
63.6289 | 0
63.679 | 0
63.7291 | 0
63.7792 | 0
63.8294 | 0
63.8796 | 0
63.9298 | 0
63.9801 | 0
64.0304 | 0
64.0808 | 0
64.1312 | 0
64.1816 | 0
64.2321 | 0
64.2826 | 0
64.3332 | 0
64.3838 | 0
64.4344 | 0
64.4851 | 0
64.5358 | 0
64.5866 | 0
64.6374 | 0
64.6882 | 0
64.7391 | 0
64.79 | 0
64.841 | 0
64.892 | 0
64.943 | 0
64.9941 | 0
65.0452 | 0
65.0964 | 0
65.1476 | 0
65.1988 | 0
65.2501 | 0
65.3014 | 0
65.3528 | 0
65.4042 | 0
65.4556 | 0
65.5071 | 0
65.5587 | 0
65.6102 | 0
65.6618 | 0
65.7135 | 0
65.7652 | 0
65.8169 | 0
65.8687 | 0
65.9205 | 0
65.9723 | 0
66.0242 | 0
66.0761 | 0
66.1281 | 0
66.1801 | 0
66.2322 | 0
66.2843 | 0
66.3364 | 0
66.3886 | 0
66.4408 | 0
66.493 | 0
66.5453 | 0
66.5977 | 0
66.6501 | 0
66.7025 | 0
66.755 | 0
66.8075 | 0
66.86 | 0
66.9126 | 0
66.9652 | 0
67.0179 | 0
67.0706 | 0
67.1234 | 0
67.1762 | 0
67.229 | 0
67.2819 | 0
67.3348 | 0
67.3878 | 0
67.4408 | 0
67.4938 | 0
67.5469 | 0
67.6 | 0
67.6532 | 0
67.7064 | 0
67.7597 | 0
67.813 | 0
67.8663 | 0
67.9197 | 0
67.9731 | 0
68.0266 | 0
68.0801 | 0
68.1336 | 0
68.1872 | 0
68.2408 | 0
68.2945 | 0
68.3482 | 0
68.402 | 0
68.4558 | 0
68.5096 | 0
68.5635 | 0
68.6174 | 0
68.6714 | 0
68.7254 | 0
68.7795 | 0
68.8336 | 0
68.8877 | 0
68.9419 | 0
68.9961 | 0
69.0504 | 0
69.1047 | 0
69.1591 | 0
69.2135 | 0
69.2679 | 0
69.3224 | 0
69.3769 | 0
69.4315 | 0
69.4861 | 0
69.5407 | 0
69.5954 | 0
69.6502 | 0
69.705 | 0
69.7598 | 0
69.8147 | 0
69.8696 | 0
69.9245 | 0
69.9795 | 0
70.0346 | 0
70.0896 | 0
70.1448 | 0
70.1999 | 0
70.2552 | 0
70.3104 | 0
70.3657 | 0
70.4211 | 0
70.4765 | 0
70.5319 | 0
70.5874 | 0
70.6429 | 0
70.6984 | 0
70.7541 | 0
70.8097 | 0
70.8654 | 0
70.9211 | 0
70.9769 | 0
71.0328 | 0
71.0886 | 0
71.1445 | 0
71.2005 | 0
71.2565 | 0
71.3125 | 0
71.3686 | 0
71.4248 | 0
71.4809 | 0
71.5372 | 0
71.5934 | 0
71.6497 | 0
71.7061 | 0
71.7625 | 0
71.8189 | 0
71.8754 | 0
71.932 | 0
71.9885 | 0
72.0452 | 0
72.1018 | 0
72.1585 | 0
72.2153 | 0
72.2721 | 0
72.3289 | 0
72.3858 | 0
72.4428 | 0
72.4998 | 0
72.5568 | 0
72.6138 | 0
72.671 | 0
72.7281 | 0
72.7853 | 0
72.8426 | 0
72.8999 | 0
72.9572 | 0
73.0146 | 0
73.072 | 0
73.1295 | 0
73.187 | 0
73.2446 | 0
73.3022 | 0
73.3598 | 0
73.4175 | 0
73.4753 | 0
73.5331 | 0
73.5909 | 0
73.6488 | 0
73.7067 | 0
73.7647 | 0
73.8227 | 0
73.8808 | 0
73.9389 | 0
73.997 | 0
74.0552 | 0
74.1135 | 0
74.1718 | 0
74.2301 | 0
74.2885 | 0
74.3469 | 0
74.4054 | 0
74.4639 | 0
74.5225 | 0
74.5811 | 0
74.6398 | 0
74.6985 | 0
74.7573 | 0
74.8161 | 0
74.8749 | 0
74.9338 | 0
74.9927 | 0
75.0517 | 0
75.1107 | 0
75.1698 | 0
75.2289 | 0
75.2881 | 0
75.3473 | 0
75.4066 | 0
75.4659 | 0
75.5253 | 0
75.5847 | 0
75.6441 | 0
75.7036 | 0
75.7632 | 0
75.8228 | 0
75.8824 | 0
75.9421 | 0
76.0018 | 0
76.0616 | 0
76.1214 | 0
76.1813 | 0
76.2412 | 0
76.3012 | 0
76.3612 | 0
76.4212 | 0
76.4814 | 0
76.5415 | 0
76.6017 | 0
76.662 | 0
76.7223 | 0
76.7826 | 0
76.843 | 0
76.9034 | 0
76.9639 | 0
77.0245 | 0
77.085 | 0
77.1457 | 0
77.2064 | 0
77.2671 | 0
77.3279 | 0
77.3887 | 0
77.4495 | 0
77.5105 | 0
77.5714 | 0
77.6324 | 0
77.6935 | 0
77.7546 | 0
77.8158 | 0
77.877 | 0
77.9382 | 0
77.9995 | 0
78.0609 | 0
78.1223 | 0
78.1837 | 0
78.2452 | 0
78.3068 | 0
78.3684 | 0
78.43 | 0
78.4917 | 0
78.5534 | 0
78.6152 | 0
78.677 | 0
78.7389 | 0
78.8009 | 0
78.8628 | 0
78.9249 | 0
78.9869 | 0
79.0491 | 0
79.1112 | 0
79.1735 | 0
79.2357 | 0
79.2981 | 0
79.3604 | 0
79.4229 | 0
79.4853 | 0
79.5478 | 0
79.6104 | 0
79.673 | 0
79.7357 | 0
79.7984 | 0
79.8612 | 0
79.924 | 0
79.9869 | 0
80.0498 | 0
80.1127 | 0
80.1757 | 0
80.2388 | 0
80.3019 | 0
80.3651 | 0
80.4283 | 0
80.4915 | 0
80.5549 | 0
80.6182 | 0
80.6816 | 0
80.7451 | 0
80.8086 | 0
80.8722 | 0
80.9358 | 0
80.9994 | 0
81.0631 | 0
81.1269 | 0
81.1907 | 0
81.2546 | 0
81.3185 | 0
81.3824 | 0
81.4464 | 0
81.5105 | 0
81.5746 | 0
81.6388 | 0
81.703 | 0
81.7673 | 0
81.8316 | 0
81.8959 | 0
81.9603 | 0
82.0248 | 0
82.0893 | 0
82.1539 | 0
82.2185 | 0
82.2832 | 0
82.3479 | 0
82.4127 | 0
82.4775 | 0
82.5424 | 0
82.6073 | 0
82.6723 | 0
82.7373 | 0
82.8024 | 0
82.8675 | 0
82.9327 | 0
82.9979 | 0
83.0632 | 0
83.1285 | 0
83.1939 | 0
83.2593 | 0
83.3248 | 0
83.3904 | 0
83.456 | 0
83.5216 | 0
83.5873 | 0
83.653 | 0
83.7188 | 0
83.7847 | 0
83.8506 | 0
83.9165 | 0
83.9825 | 0
84.0486 | 0
84.1147 | 0
84.1809 | 0
84.2471 | 0
84.3133 | 0
84.3796 | 0
84.446 | 0
84.5124 | 0
84.5789 | 0
84.6454 | 0
84.712 | 0
84.7786 | 0
84.8453 | 0
84.9121 | 0
84.9788 | 0
85.0457 | 0
85.1126 | 0
85.1795 | 0
85.2465 | 0
85.3136 | 0
85.3807 | 0
85.4478 | 0
85.515 | 0
85.5823 | 0
85.6496 | 0
85.717 | 0
85.7844 | 0
85.8519 | 0
85.9194 | 0
85.987 | 0
86.0546 | 0
86.1223 | 0
86.19 | 0
86.2578 | 0
86.3257 | 0
86.3936 | 0
86.4615 | 0
86.5295 | 0
86.5976 | 0
86.6657 | 0
86.7339 | 0
86.8021 | 0
86.8704 | 0
86.9387 | 0
87.0071 | 0
87.0755 | 0
87.144 | 0
87.2125 | 0
87.2811 | 0
87.3498 | 0
87.4185 | 0
87.4872 | 0
87.5561 | 0
87.6249 | 0
87.6938 | 0
87.7628 | 0
87.8318 | 0
87.9009 | 0
87.9701 | 0
88.0393 | 0
88.1085 | 0
88.1778 | 0
88.2472 | 0
88.3166 | 0
88.386 | 0
88.4556 | 0
88.5251 | 0
88.5948 | 0
88.6644 | 0
88.7342 | 0
88.804 | 0
88.8738 | 0
88.9437 | 0
89.0137 | 0
89.0837 | 0
89.1538 | 0
89.2239 | 0
89.2941 | 0
89.3643 | 0
89.4346 | 0
89.5049 | 0
89.5753 | 0
89.6458 | 0
89.7163 | 0
89.7869 | 0
89.8575 | 0
89.9282 | 0
89.9989 | 0
90.0697 | 0
90.1405 | 0
90.2114 | 0
90.2824 | 0
90.3534 | 0
90.4245 | 0
90.4956 | 0
90.5668 | 0
90.638 | 0
90.7093 | 0
90.7806 | 0
90.852 | 0
90.9235 | 0
90.995 | 0
91.0666 | 0
91.1382 | 0
91.2099 | 0
91.2816 | 0
91.3534 | 0
91.4253 | 0
91.4972 | 0
91.5692 | 0
91.6412 | 0
91.7133 | 0
91.7854 | 0
91.8576 | 0
91.9298 | 0
92.0021 | 0
92.0745 | 0
92.1469 | 0
92.2194 | 0
92.2919 | 0
92.3645 | 0
92.4372 | 0
92.5099 | 0
92.5827 | 0
92.6555 | 0
92.7284 | 0
92.8013 | 0
92.8743 | 0
92.9473 | 0
93.0204 | 0
93.0936 | 0
93.1668 | 0
93.2401 | 0
93.3134 | 0
93.3868 | 0
93.4603 | 0
93.5338 | 0
93.6074 | 0
93.681 | 0
93.7547 | 0
93.8284 | 0
93.9022 | 0
93.9761 | 0
94.05 | 0
94.124 | 0
94.198 | 0
94.2721 | 0
94.3462 | 0
94.4204 | 0
94.4947 | 0
94.569 | 0
94.6434 | 0
94.7179 | 0
94.7924 | 0
94.8669 | 0
94.9415 | 0
95.0162 | 0
95.0909 | 0
95.1657 | 0
95.2406 | 0
95.3155 | 0
95.3905 | 0
95.4655 | 0
95.5406 | 0
95.6157 | 0
95.6909 | 0
95.7662 | 0
95.8415 | 0
95.9169 | 0
95.9924 | 0
96.0679 | 0
96.1434 | 0
96.219 | 0
96.2947 | 0
96.3705 | 0
96.4463 | 0
96.5221 | 0
96.598 | 0
96.674 | 0
96.7501 | 0
96.8262 | 0
96.9023 | 0
96.9785 | 0
97.0548 | 0
97.1311 | 0
97.2075 | 0
97.284 | 0
97.3605 | 0
97.4371 | 0
97.5137 | 0
97.5904 | 0
97.6672 | 0
97.744 | 0
97.8209 | 0
97.8978 | 0
97.9748 | 0
98.0519 | 0
98.129 | 0
98.2062 | 0
98.2834 | 0
98.3607 | 0
98.4381 | 0
98.5155 | 0
98.593 | 0
98.6706 | 0
98.7482 | 0
98.8259 | 0
98.9036 | 0
98.9814 | 0
99.0592 | 0
99.1371 | 0
99.2151 | 0
99.2932 | 0
99.3713 | 0
99.4494 | 0
99.5276 | 0
99.6059 | 0
99.6843 | 0
99.7627 | 0
99.8411 | 0
99.9197 | 0
99.9983 | 0