## Spectrum(Ch4)
Signal Name | Spectrum(Ch4)
Device SN | 25942688
Software Used | Crystal Instruments EDM software Ver: 10.0.0.22
Instrument Used | Spider
Test Notes | Mat_sweep sine25/Run120 Untitled Test Note
Data Acquisition Time | 4/16/2026 11:16:41 AM
Signal Export Time | 4/16/2026 11:18:21 AM
User | Admin
Sampling Rate | 20.48 kHz
Block size/Line | 2048 / 2048
X Axis Data Start | 4/16/2026 11:16:41 AM
X Axis Data Resolution | 1.000787
Acquisition/Calculation Method | Undefined
Amplitude Scaling | 0-Peak
Average Mode | Linear
Signal Type | Frequency
Display Format of Y Axis | LogMag
Default Spectrum Type | EUpeak
Unit of X | Frequency (Hz)
Unit of Y | LogMag g
Spectrum Format | Power Spectrum
Window Type | Hanning
Window Correction Mode | Amplitude
Energy Factor | 0.09375
Amplitude Factor | 0.125
X:Frequency (Hz) | Y:LogMag g
20 | 1.1827
20.0157 | 1.1827
20.0315 | 1.1827
20.0472 | 1.1828
20.063 | 1.1832
20.0788 | 1.1841
20.0946 | 1.1853
20.1104 | 1.1863
20.1262 | 1.1879
20.142 | 1.1897
20.1579 | 1.1917
20.1737 | 1.1932
20.1896 | 1.1957
20.2055 | 1.1984
20.2214 | 1.2002
20.2373 | 1.2028
20.2532 | 1.2053
20.2691 | 1.2076
20.2851 | 1.2091
20.301 | 1.2113
20.317 | 1.2135
20.333 | 1.2149
20.349 | 1.2171
20.365 | 1.2192
20.381 | 1.2214
20.397 | 1.223
20.413 | 1.2255
20.4291 | 1.2279
20.4452 | 1.2303
20.4613 | 1.2319
20.4773 | 1.2343
20.4935 | 1.2369
20.5096 | 1.2386
20.5257 | 1.2412
20.5418 | 1.2437
20.558 | 1.2463
20.5742 | 1.248
20.5904 | 1.2505
20.6066 | 1.253
20.6228 | 1.2547
20.639 | 1.2574
20.6552 | 1.2601
20.6715 | 1.2629
20.6877 | 1.2647
20.704 | 1.2676
20.7203 | 1.2704
20.7366 | 1.2731
20.7529 | 1.275
20.7692 | 1.2777
20.7855 | 1.2806
20.8019 | 1.2826
20.8183 | 1.2856
20.8346 | 1.2887
20.851 | 1.2918
20.8674 | 1.2938
20.8838 | 1.2968
20.9003 | 1.2999
20.9167 | 1.302
20.9331 | 1.3053
20.9496 | 1.3086
20.9661 | 1.3119
20.9826 | 1.3141
20.9991 | 1.3175
21.0156 | 1.3208
21.0321 | 1.324
21.0487 | 1.3261
21.0652 | 1.3294
21.0818 | 1.3328
21.0984 | 1.3351
21.115 | 1.3385
21.1316 | 1.342
21.1482 | 1.3455
21.1648 | 1.3479
21.1815 | 1.3515
21.1981 | 1.3553
21.2148 | 1.3578
21.2315 | 1.3616
21.2482 | 1.3655
21.2649 | 1.3693
21.2816 | 1.3718
21.2984 | 1.3756
21.3151 | 1.3794
21.3319 | 1.3834
21.3487 | 1.3861
21.3655 | 1.3901
21.3823 | 1.394
21.3991 | 1.3967
21.4159 | 1.4006
21.4328 | 1.4046
21.4496 | 1.4087
21.4665 | 1.4115
21.4834 | 1.4158
21.5003 | 1.4201
21.5172 | 1.423
21.5341 | 1.4272
21.551 | 1.4315
21.568 | 1.4358
21.585 | 1.4386
21.6019 | 1.4429
21.6189 | 1.4473
21.6359 | 1.4517
21.653 | 1.4546
21.67 | 1.4591
21.687 | 1.4635
21.7041 | 1.4664
21.7212 | 1.4707
21.7382 | 1.4751
21.7553 | 1.4797
21.7725 | 1.4828
21.7896 | 1.4876
21.8067 | 1.4923
21.8239 | 1.4955
21.841 | 1.5002
21.8582 | 1.505
21.8754 | 1.5098
21.8926 | 1.513
21.9098 | 1.5178
21.9271 | 1.5227
21.9443 | 1.5276
21.9616 | 1.5309
21.9788 | 1.536
21.9961 | 1.5411
22.0134 | 1.5446
22.0307 | 1.5497
22.0481 | 1.5547
22.0654 | 1.5597
22.0828 | 1.5631
22.1001 | 1.5682
22.1175 | 1.5733
22.1349 | 1.5766
22.1523 | 1.5813
22.1698 | 1.5859
22.1872 | 1.5905
22.2046 | 1.5936
22.2221 | 1.5984
22.2396 | 1.6031
22.2571 | 1.6078
22.2746 | 1.6109
22.2921 | 1.6155
22.3096 | 1.6199
22.3272 | 1.6229
22.3447 | 1.6273
22.3623 | 1.6316
22.3799 | 1.6358
22.3975 | 1.6386
22.4151 | 1.6425
22.4328 | 1.6464
22.4504 | 1.6489
22.4681 | 1.6526
22.4857 | 1.6561
22.5034 | 1.6594
22.5211 | 1.6616
22.5388 | 1.6648
22.5566 | 1.6678
22.5743 | 1.6706
22.5921 | 1.6723
22.6098 | 1.6747
22.6276 | 1.677
22.6454 | 1.6783
22.6632 | 1.68
22.681 | 1.6815
22.6989 | 1.6827
22.7167 | 1.6834
22.7346 | 1.6841
22.7525 | 1.6845
22.7704 | 1.6846
22.7883 | 1.6845
22.8062 | 1.684
22.8242 | 1.6833
22.8421 | 1.6827
22.8601 | 1.6818
22.8781 | 1.6806
22.8961 | 1.6791
22.9141 | 1.6779
22.9321 | 1.676
22.9501 | 1.6737
22.9682 | 1.672
22.9862 | 1.6693
23.0043 | 1.6664
23.0224 | 1.663
23.0405 | 1.6606
23.0586 | 1.6568
23.0768 | 1.6528
23.0949 | 1.6501
23.1131 | 1.6458
23.1313 | 1.6415
23.1495 | 1.6372
23.1677 | 1.6343
23.1859 | 1.6299
23.2041 | 1.6256
23.2224 | 1.6213
23.2407 | 1.6184
23.2589 | 1.6141
23.2772 | 1.6098
23.2955 | 1.607
23.3139 | 1.6029
23.3322 | 1.5991
23.3505 | 1.5953
23.3689 | 1.593
23.3873 | 1.5895
23.4057 | 1.5862
23.4241 | 1.5842
23.4425 | 1.5815
23.461 | 1.5792
23.4794 | 1.5772
23.4979 | 1.5761
23.5164 | 1.5746
23.5349 | 1.5735
23.5534 | 1.5727
23.5719 | 1.5724
23.5904 | 1.5723
23.609 | 1.5724
23.6276 | 1.5726
23.6461 | 1.5731
23.6647 | 1.5738
23.6834 | 1.5749
23.702 | 1.5758
23.7206 | 1.5775
23.7393 | 1.5795
23.758 | 1.5811
23.7766 | 1.5838
23.7953 | 1.5869
23.8141 | 1.5903
23.8328 | 1.5928
23.8515 | 1.5968
23.8703 | 1.6011
23.8891 | 1.6058
23.9079 | 1.609
23.9267 | 1.6141
23.9455 | 1.6193
23.9643 | 1.6229
23.9832 | 1.6282
24.002 | 1.6337
24.0209 | 1.6397
24.0398 | 1.6439
24.0587 | 1.6502
24.0776 | 1.6566
24.0966 | 1.661
24.1155 | 1.6677
24.1345 | 1.6746
24.1535 | 1.6817
24.1725 | 1.6866
24.1915 | 1.6942
24.2105 | 1.7021
24.2296 | 1.71
24.2486 | 1.7153
24.2677 | 1.7233
24.2868 | 1.7317
24.3059 | 1.7373
24.325 | 1.7457
24.3441 | 1.7543
24.3633 | 1.7629
24.3824 | 1.7688
24.4016 | 1.7776
24.4208 | 1.7867
24.44 | 1.7963
24.4592 | 1.8028
24.4785 | 1.8128
24.4977 | 1.8228
24.517 | 1.8296
24.5363 | 1.8398
24.5556 | 1.8501
24.5749 | 1.8605
24.5942 | 1.8674
24.6136 | 1.8778
24.6329 | 1.8881
24.6523 | 1.895
24.6717 | 1.9052
24.6911 | 1.9156
24.7105 | 1.9263
24.73 | 1.9337
24.7494 | 1.9448
24.7689 | 1.9558
24.7884 | 1.9669
24.8079 | 1.9745
24.8274 | 1.9861
24.8469 | 1.9977
24.8664 | 2.0055
24.886 | 2.0175
24.9056 | 2.0299
24.9252 | 2.0423
24.9448 | 2.0506
24.9644 | 2.0633
24.984 | 2.0763
25.0037 | 2.0851
25.0233 | 2.0982
25.043 | 2.1114
25.0627 | 2.1249
25.0824 | 2.1342
25.1022 | 2.1483
25.1219 | 2.1622
25.1417 | 2.1762
25.1614 | 2.1856
25.1812 | 2.1999
25.201 | 2.2146
25.2209 | 2.2246
25.2407 | 2.2397
25.2605 | 2.255
25.2804 | 2.2706
25.3003 | 2.281
25.3202 | 2.2967
25.3401 | 2.3126
25.36 | 2.3234
25.38 | 2.3397
25.4 | 2.3562
25.4199 | 2.3729
25.4399 | 2.3841
25.4599 | 2.4011
25.48 | 2.4184
25.5 | 2.4357
25.5201 | 2.4474
25.5401 | 2.4652
25.5602 | 2.4834
25.5803 | 2.4956
25.6004 | 2.5141
25.6206 | 2.5329
25.6407 | 2.5516
25.6609 | 2.5642
25.6811 | 2.5835
25.7013 | 2.6034
25.7215 | 2.6168
25.7417 | 2.637
25.762 | 2.6575
25.7822 | 2.6785
25.8025 | 2.6927
25.8228 | 2.7143
25.8431 | 2.7362
25.8634 | 2.7586
25.8838 | 2.7739
25.9041 | 2.7969
25.9245 | 2.8199
25.9449 | 2.8354
25.9653 | 2.8589
25.9857 | 2.8827
26.0062 | 2.9067
26.0266 | 2.923
26.0471 | 2.9479
26.0676 | 2.9732
26.0881 | 2.9902
26.1086 | 3.0157
26.1292 | 3.0417
26.1497 | 3.0685
26.1703 | 3.0867
26.1909 | 3.1144
26.2115 | 3.1424
26.2321 | 3.1709
26.2527 | 3.1902
26.2734 | 3.2194
26.294 | 3.2493
26.3147 | 3.2695
26.3354 | 3.3003
26.3561 | 3.3313
26.3768 | 3.3629
26.3976 | 3.3843
26.4184 | 3.4171
26.4391 | 3.4509
26.4599 | 3.4738
26.4807 | 3.5087
26.5016 | 3.5438
26.5224 | 3.5792
26.5433 | 3.6031
26.5642 | 3.6398
26.585 | 3.6778
26.606 | 3.7168
26.6269 | 3.7432
26.6478 | 3.7831
26.6688 | 3.8234
26.6898 | 3.8504
26.7108 | 3.8916
26.7318 | 3.9338
26.7528 | 3.9776
26.7738 | 4.0074
26.7949 | 4.053
26.816 | 4.0993
26.8371 | 4.1305
26.8582 | 4.1783
26.8793 | 4.227
26.9004 | 4.277
26.9216 | 4.311
26.9428 | 4.3632
26.964 | 4.4167
26.9852 | 4.4715
27.0064 | 4.5088
27.0276 | 4.5661
27.0489 | 4.6251
27.0702 | 4.6653
27.0915 | 4.7268
27.1128 | 4.7899
27.1341 | 4.8548
27.1554 | 4.8992
27.1768 | 4.9674
27.1982 | 5.0377
27.2196 | 5.0855
27.241 | 5.1589
27.2624 | 5.2341
27.2838 | 5.3113
27.3053 | 5.364
27.3268 | 5.4451
27.3483 | 5.5291
27.3698 | 5.6159
27.3913 | 5.6752
27.4129 | 5.7665
27.4344 | 5.8609
27.456 | 5.9256
27.4776 | 6.025
27.4992 | 6.1269
27.5208 | 6.2316
27.5425 | 6.303
27.5641 | 6.4131
27.5858 | 6.5271
27.6075 | 6.6054
27.6292 | 6.7264
27.651 | 6.8517
27.6727 | 6.981
27.6945 | 7.0696
27.7163 | 7.2064
27.7381 | 7.3488
27.7599 | 7.4972
27.7817 | 7.5995
27.8036 | 7.7578
27.8254 | 7.9217
27.8473 | 8.0339
27.8692 | 8.2067
27.8911 | 8.3849
27.9131 | 8.5693
27.935 | 8.6961
27.957 | 8.893
27.979 | 9.0987
28.001 | 9.2416
28.023 | 9.4665
28.0451 | 9.7073
28.0671 | 9.9668
28.0892 | 10.1512
28.1113 | 10.4455
28.1334 | 10.7618
28.1555 | 11.1011
28.1777 | 11.3405
28.1998 | 11.7202
28.222 | 12.1259
28.2442 | 12.4115
28.2664 | 12.8629
28.2887 | 13.3422
28.3109 | 13.8498
28.3332 | 14.2044
28.3555 | 14.7624
28.3778 | 15.3541
28.4001 | 15.7688
28.4224 | 16.4236
28.4448 | 17.1195
28.4672 | 17.8575
28.4896 | 18.3728
28.512 | 19.1798
28.5344 | 20.0254
28.5568 | 20.9062
28.5793 | 21.5102
28.6018 | 22.4381
28.6243 | 23.3898
28.6468 | 24.0342
28.6693 | 25.0114
28.6919 | 25.9946
28.7144 | 26.9723
28.737 | 27.613
28.7596 | 28.5476
28.7822 | 29.4457
28.8049 | 30.019
28.8275 | 30.827
28.8502 | 31.551
28.8729 | 32.164
28.8956 | 32.4987
28.9183 | 32.8733
28.9411 | 33.0826
28.9638 | 33.1138
28.9866 | 33.0273
29.0094 | 32.7246
29.0322 | 32.2072
29.0551 | 31.7473
29.0779 | 30.8959
29.1008 | 29.8663
29.1237 | 28.684
29.1466 | 27.8283
29.1695 | 26.4688
29.1925 | 25.0391
29.2154 | 24.06
29.2384 | 22.5809
29.2614 | 21.1276
29.2844 | 19.7283
29.3075 | 18.8315
29.3305 | 17.5523
29.3536 | 16.3697
29.3767 | 15.2936
29.3998 | 14.6332
29.4229 | 13.724
29.446 | 12.9119
29.4692 | 12.4249
29.4924 | 11.7776
29.5156 | 11.233
29.5388 | 10.786
29.562 | 10.5339
29.5853 | 10.2101
29.6085 | 9.9354
29.6318 | 9.7727
29.6551 | 9.5486
29.6785 | 9.339
29.7018 | 9.1352
29.7252 | 8.9996
29.7485 | 8.7937
29.7719 | 8.5832
29.7954 | 8.3685
29.8188 | 8.224
29.8423 | 8.0072
29.8657 | 7.7939
29.8892 | 7.6552
29.9127 | 7.4537
29.9363 | 7.2608
29.9598 | 7.0779
29.9834 | 6.9621
30.0069 | 6.7979
30.0305 | 6.6448
30.0542 | 6.5484
30.0778 | 6.4109
30.1015 | 6.281
30.1251 | 6.1575
30.1488 | 6.0785
30.1725 | 5.9641
30.1963 | 5.8542
30.22 | 5.7479
30.2438 | 5.6787
30.2676 | 5.5772
30.2914 | 5.4785
30.3152 | 5.4144
30.3391 | 5.321
30.3629 | 5.2308
30.3868 | 5.1435
30.4107 | 5.0869
30.4346 | 5.0042
30.4586 | 4.9242
30.4825 | 4.8724
30.5065 | 4.7972
30.5305 | 4.7247
30.5545 | 4.6547
30.5785 | 4.6092
30.6026 | 4.5426
30.6267 | 4.4778
30.6508 | 4.4146
30.6749 | 4.3734
30.699 | 4.3131
30.7231 | 4.2543
30.7473 | 4.2159
30.7715 | 4.1591
30.7957 | 4.1037
30.8199 | 4.0497
30.8441 | 4.0145
30.8684 | 3.963
30.8927 | 3.913
30.917 | 3.8804
30.9413 | 3.8323
30.9656 | 3.7854
30.99 | 3.7395
31.0144 | 3.7095
31.0388 | 3.6655
31.0632 | 3.6226
31.0876 | 3.5806
31.1121 | 3.553
31.1365 | 3.5123
31.161 | 3.4724
31.1855 | 3.4464
31.2101 | 3.4081
31.2346 | 3.3706
31.2592 | 3.334
31.2838 | 3.31
31.3084 | 3.2749
31.333 | 3.2404
31.3576 | 3.2177
31.3823 | 3.1841
31.407 | 3.1511
31.4317 | 3.1188
31.4564 | 3.0976
31.4812 | 3.0663
31.5059 | 3.0358
31.5307 | 3.0058
31.5555 | 2.9861
31.5803 | 2.9569
31.6052 | 2.9283
31.63 | 2.9096
31.6549 | 2.8821
31.6798 | 2.8554
31.7047 | 2.8293
31.7296 | 2.8122
31.7546 | 2.787
31.7796 | 2.7622
31.8046 | 2.7457
31.8296 | 2.721
31.8546 | 2.6966
31.8797 | 2.6729
31.9048 | 2.6575
31.9299 | 2.6345
31.955 | 2.6119
31.9801 | 2.5896
32.0053 | 2.5751
32.0304 | 2.5536
32.0556 | 2.5326
32.0808 | 2.5191
32.1061 | 2.4996
32.1313 | 2.4807
32.1566 | 2.4618
32.1819 | 2.4492
32.2072 | 2.4307
32.2325 | 2.4123
32.2579 | 2.4
32.2833 | 2.3816
32.3086 | 2.3635
32.3341 | 2.3455
32.3595 | 2.3335
32.3849 | 2.3154
32.4104 | 2.2971
32.4359 | 2.2789
32.4614 | 2.267
32.487 | 2.2495
32.5125 | 2.2325
32.5381 | 2.2213
32.5637 | 2.2048
32.5893 | 2.1889
32.6149 | 2.1733
32.6406 | 2.163
32.6662 | 2.1476
32.6919 | 2.1323
32.7176 | 2.1224
32.7434 | 2.1078
32.7691 | 2.0933
32.7949 | 2.0789
32.8207 | 2.0695
32.8465 | 2.0555
32.8724 | 2.0415
32.8982 | 2.0272
32.9241 | 2.0177
32.95 | 2.004
32.9759 | 1.9908
33.0018 | 1.9822
33.0278 | 1.9692
33.0538 | 1.9562
33.0798 | 1.9433
33.1058 | 1.9348
33.1318 | 1.9223
33.1579 | 1.91
33.184 | 1.9018
33.2101 | 1.8899
33.2362 | 1.878
33.2623 | 1.866
33.2885 | 1.858
33.3147 | 1.8462
33.3409 | 1.8345
33.3671 | 1.8229
33.3933 | 1.8152
33.4196 | 1.8037
33.4459 | 1.7924
33.4722 | 1.785
33.4985 | 1.7741
33.5249 | 1.7634
33.5512 | 1.7529
33.5776 | 1.746
33.604 | 1.7358
33.6305 | 1.7258
33.6569 | 1.7193
33.6834 | 1.7097
33.7099 | 1.7001
33.7364 | 1.6904
33.7629 | 1.6839
33.7895 | 1.6743
33.8161 | 1.6649
33.8427 | 1.6557
33.8693 | 1.6496
33.8959 | 1.6404
33.9226 | 1.6312
33.9493 | 1.6252
33.976 | 1.6162
34.0027 | 1.6072
34.0294 | 1.5984
34.0562 | 1.5926
34.083 | 1.5839
34.1098 | 1.5753
34.1366 | 1.5695
34.1635 | 1.561
34.1904 | 1.5527
34.2173 | 1.5445
34.2442 | 1.5391
34.2711 | 1.5312
34.2981 | 1.5235
34.325 | 1.5161
34.352 | 1.5112
34.379 | 1.5037
34.4061 | 1.496
34.4332 | 1.4909
34.4602 | 1.4832
34.4873 | 1.4756
34.5145 | 1.4681
34.5416 | 1.4631
34.5688 | 1.4555
34.596 | 1.4479
34.6232 | 1.443
34.6504 | 1.4357
34.6777 | 1.4287
34.7049 | 1.4218
34.7322 | 1.4174
34.7596 | 1.4108
34.7869 | 1.4042
34.8143 | 1.3978
34.8416 | 1.3935
34.869 | 1.3872
34.8965 | 1.3808
34.9239 | 1.3764
34.9514 | 1.3699
34.9789 | 1.3632
35.0064 | 1.3567
35.0339 | 1.3525
35.0615 | 1.3461
35.0891 | 1.3399
35.1167 | 1.3357
35.1443 | 1.3293
35.1719 | 1.3229
35.1996 | 1.3166
35.2273 | 1.3125
35.255 | 1.3065
35.2827 | 1.3006
35.3105 | 1.2949
35.3382 | 1.291
35.366 | 1.2853
35.3938 | 1.2797
35.4217 | 1.276
35.4495 | 1.2707
35.4774 | 1.2655
35.5053 | 1.2602
35.5333 | 1.2567
35.5612 | 1.2513
35.5892 | 1.2459
35.6172 | 1.2405
35.6452 | 1.2369
35.6732 | 1.2316
35.7013 | 1.2263
35.7294 | 1.2227
35.7575 | 1.2174
35.7856 | 1.2122
35.8137 | 1.2069
35.8419 | 1.2034
35.8701 | 1.1983
35.8983 | 1.1933
35.9265 | 1.19
35.9548 | 1.1851
35.9831 | 1.1803
36.0114 | 1.1756
36.0397 | 1.1725
36.0681 | 1.1678
36.0964 | 1.163
36.1248 | 1.1583
36.1532 | 1.1553
36.1817 | 1.1507
36.2101 | 1.1463
36.2386 | 1.1433
36.2671 | 1.1387
36.2956 | 1.134
36.3242 | 1.1294
36.3528 | 1.1264
36.3813 | 1.122
36.41 | 1.1177
36.4386 | 1.1149
36.4673 | 1.1107
36.4959 | 1.1066
36.5246 | 1.1025
36.5534 | 1.0997
36.5821 | 1.0956
36.6109 | 1.0917
36.6397 | 1.0878
36.6685 | 1.0851
36.6974 | 1.0811
36.7262 | 1.077
36.7551 | 1.0743
36.784 | 1.0702
36.8129 | 1.0663
36.8419 | 1.0624
36.8709 | 1.0599
36.8999 | 1.0562
36.9289 | 1.0523
36.958 | 1.0497
36.987 | 1.0459
37.0161 | 1.0422
37.0452 | 1.0397
37.0744 | 0
37.1035 | 0
37.1327 | 0
37.1619 | 0
37.1911 | 0
37.2204 | 0
37.2497 | 0
37.279 | 0
37.3083 | 0
37.3376 | 0
37.367 | 0
37.3964 | 0
37.4258 | 0
37.4552 | 0
37.4847 | 0
37.5142 | 0
37.5437 | 0
37.5732 | 0
37.6028 | 0
37.6324 | 0
37.662 | 0
37.6916 | 0
37.7212 | 0
37.7509 | 0
37.7806 | 0
37.8103 | 0
37.84 | 0
37.8698 | 0
37.8996 | 0
37.9294 | 0
37.9592 | 0
37.9891 | 0
38.019 | 0
38.0489 | 0
38.0788 | 0
38.1088 | 0
38.1387 | 0
38.1687 | 0
38.1987 | 0
38.2288 | 0
38.2589 | 0
38.2889 | 0
38.3191 | 0
38.3492 | 0
38.3794 | 0
38.4096 | 0
38.4398 | 0
38.47 | 0
38.5003 | 0
38.5305 | 0
38.5608 | 0
38.5912 | 0
38.6215 | 0
38.6519 | 0
38.6823 | 0
38.7127 | 0
38.7432 | 0
38.7737 | 0
38.8042 | 0
38.8347 | 0
38.8652 | 0
38.8958 | 0
38.9264 | 0
38.957 | 0
38.9876 | 0
39.0183 | 0
39.049 | 0
39.0797 | 0
39.1104 | 0
39.1412 | 0
39.172 | 0
39.2028 | 0
39.2336 | 0
39.2645 | 0
39.2954 | 0
39.3263 | 0
39.3572 | 0
39.3882 | 0
39.4192 | 0
39.4502 | 0
39.4812 | 0
39.5122 | 0
39.5433 | 0
39.5744 | 0
39.6056 | 0
39.6367 | 0
39.6679 | 0
39.6991 | 0
39.7303 | 0
39.7616 | 0
39.7928 | 0
39.8241 | 0
39.8555 | 0
39.8868 | 0
39.9182 | 0
39.9496 | 0
39.981 | 0
40.0124 | 0
40.0439 | 0
40.0754 | 0
40.1069 | 0
40.1385 | 0
40.17 | 0
40.2016 | 0
40.2333 | 0
40.2649 | 0
40.2966 | 0
40.3283 | 0
40.36 | 0
40.3917 | 0
40.4235 | 0
40.4553 | 0
40.4871 | 0
40.519 | 0
40.5508 | 0
40.5827 | 0
40.6147 | 0
40.6466 | 0
40.6786 | 0
40.7106 | 0
40.7426 | 0
40.7746 | 0
40.8067 | 0
40.8388 | 0
40.8709 | 0
40.9031 | 0
40.9352 | 0
40.9674 | 0
40.9997 | 0
41.0319 | 0
41.0642 | 0
41.0965 | 0
41.1288 | 0
41.1611 | 0
41.1935 | 0
41.2259 | 0
41.2584 | 0
41.2908 | 0
41.3233 | 0
41.3558 | 0
41.3883 | 0
41.4209 | 0
41.4534 | 0
41.486 | 0
41.5187 | 0
41.5513 | 0
41.584 | 0
41.6167 | 0
41.6495 | 0
41.6822 | 0
41.715 | 0
41.7478 | 0
41.7806 | 0
41.8135 | 0
41.8464 | 0
41.8793 | 0
41.9123 | 0
41.9452 | 0
41.9782 | 0
42.0112 | 0
42.0443 | 0
42.0773 | 0
42.1104 | 0
42.1436 | 0
42.1767 | 0
42.2099 | 0
42.2431 | 0
42.2763 | 0
42.3096 | 0
42.3428 | 0
42.3761 | 0
42.4095 | 0
42.4428 | 0
42.4762 | 0
42.5096 | 0
42.5431 | 0
42.5765 | 0
42.61 | 0
42.6435 | 0
42.6771 | 0
42.7106 | 0
42.7442 | 0
42.7778 | 0
42.8115 | 0
42.8452 | 0
42.8789 | 0
42.9126 | 0
42.9463 | 0
42.9801 | 0
43.0139 | 0
43.0478 | 0
43.0816 | 0
43.1155 | 0
43.1494 | 0
43.1834 | 0
43.2173 | 0
43.2513 | 0
43.2853 | 0
43.3194 | 0
43.3534 | 0
43.3875 | 0
43.4217 | 0
43.4558 | 0
43.49 | 0
43.5242 | 0
43.5584 | 0
43.5927 | 0
43.627 | 0
43.6613 | 0
43.6957 | 0
43.73 | 0
43.7644 | 0
43.7988 | 0
43.8333 | 0
43.8678 | 0
43.9023 | 0
43.9368 | 0
43.9714 | 0
44.0059 | 0
44.0406 | 0
44.0752 | 0
44.1099 | 0
44.1446 | 0
44.1793 | 0
44.214 | 0
44.2488 | 0
44.2836 | 0
44.3184 | 0
44.3533 | 0
44.3882 | 0
44.4231 | 0
44.458 | 0
44.493 | 0
44.528 | 0
44.563 | 0
44.5981 | 0
44.6332 | 0
44.6683 | 0
44.7034 | 0
44.7386 | 0
44.7737 | 0
44.809 | 0
44.8442 | 0
44.8795 | 0
44.9148 | 0
44.9501 | 0
44.9855 | 0
45.0208 | 0
45.0563 | 0
45.0917 | 0
45.1272 | 0
45.1626 | 0
45.1982 | 0
45.2337 | 0
45.2693 | 0
45.3049 | 0
45.3405 | 0
45.3762 | 0
45.4119 | 0
45.4476 | 0
45.4834 | 0
45.5191 | 0
45.5549 | 0
45.5908 | 0
45.6266 | 0
45.6625 | 0
45.6984 | 0
45.7344 | 0
45.7703 | 0
45.8063 | 0
45.8424 | 0
45.8784 | 0
45.9145 | 0
45.9506 | 0
45.9868 | 0
46.0229 | 0
46.0591 | 0
46.0954 | 0
46.1316 | 0
46.1679 | 0
46.2042 | 0
46.2406 | 0
46.2769 | 0
46.3133 | 0
46.3498 | 0
46.3862 | 0
46.4227 | 0
46.4592 | 0
46.4958 | 0
46.5323 | 0
46.5689 | 0
46.6056 | 0
46.6422 | 0
46.6789 | 0
46.7156 | 0
46.7524 | 0
46.7891 | 0
46.8259 | 0
46.8628 | 0
46.8996 | 0
46.9365 | 0
46.9734 | 0
47.0104 | 0
47.0474 | 0
47.0844 | 0
47.1214 | 0
47.1585 | 0
47.1955 | 0
47.2327 | 0
47.2698 | 0
47.307 | 0
47.3442 | 0
47.3814 | 0
47.4187 | 0
47.456 | 0
47.4933 | 0
47.5307 | 0
47.5681 | 0
47.6055 | 0
47.6429 | 0
47.6804 | 0
47.7179 | 0
47.7554 | 0
47.793 | 0
47.8306 | 0
47.8682 | 0
47.9059 | 0
47.9435 | 0
47.9813 | 0
48.019 | 0
48.0568 | 0
48.0946 | 0
48.1324 | 0
48.1702 | 0
48.2081 | 0
48.2461 | 0
48.284 | 0
48.322 | 0
48.36 | 0
48.398 | 0
48.4361 | 0
48.4742 | 0
48.5123 | 0
48.5505 | 0
48.5887 | 0
48.6269 | 0
48.6651 | 0
48.7034 | 0
48.7417 | 0
48.78 | 0
48.8184 | 0
48.8568 | 0
48.8952 | 0
48.9337 | 0
48.9722 | 0
49.0107 | 0
49.0493 | 0
49.0878 | 0
49.1264 | 0
49.1651 | 0
49.2038 | 0
49.2425 | 0
49.2812 | 0
49.3199 | 0
49.3587 | 0
49.3976 | 0
49.4364 | 0
49.4753 | 0
49.5142 | 0
49.5532 | 0
49.5921 | 0
49.6311 | 0
49.6702 | 0
49.7092 | 0
49.7483 | 0
49.7875 | 0
49.8266 | 0
49.8658 | 0
49.905 | 0
49.9443 | 0
49.9836 | 0
50.0229 | 0
50.0622 | 0
50.1016 | 0
50.141 | 0
50.1805 | 0
50.2199 | 0
50.2594 | 0
50.299 | 0
50.3385 | 0
50.3781 | 0
50.4177 | 0
50.4574 | 0
50.4971 | 0
50.5368 | 0
50.5766 | 0
50.6163 | 0
50.6561 | 0
50.696 | 0
50.7359 | 0
50.7758 | 0
50.8157 | 0
50.8557 | 0
50.8957 | 0
50.9357 | 0
50.9758 | 0
51.0159 | 0
51.056 | 0
51.0961 | 0
51.1363 | 0
51.1766 | 0
51.2168 | 0
51.2571 | 0
51.2974 | 0
51.3378 | 0
51.3781 | 0
51.4185 | 0
51.459 | 0
51.4995 | 0
51.54 | 0
51.5805 | 0
51.6211 | 0
51.6617 | 0
51.7023 | 0
51.743 | 0
51.7837 | 0
51.8244 | 0
51.8652 | 0
51.906 | 0
51.9468 | 0
51.9877 | 0
52.0285 | 0
52.0695 | 0
52.1104 | 0
52.1514 | 0
52.1924 | 0
52.2335 | 0
52.2746 | 0
52.3157 | 0
52.3568 | 0
52.398 | 0
52.4392 | 0
52.4805 | 0
52.5217 | 0
52.5631 | 0
52.6044 | 0
52.6458 | 0
52.6872 | 0
52.7286 | 0
52.7701 | 0
52.8116 | 0
52.8531 | 0
52.8947 | 0
52.9363 | 0
52.978 | 0
53.0196 | 0
53.0613 | 0
53.1031 | 0
53.1448 | 0
53.1866 | 0
53.2285 | 0
53.2703 | 0
53.3122 | 0
53.3542 | 0
53.3961 | 0
53.4381 | 0
53.4802 | 0
53.5222 | 0
53.5643 | 0
53.6064 | 0
53.6486 | 0
53.6908 | 0
53.733 | 0
53.7753 | 0
53.8176 | 0
53.8599 | 0
53.9023 | 0
53.9447 | 0
53.9871 | 0
54.0296 | 0
54.0721 | 0
54.1146 | 0
54.1572 | 0
54.1998 | 0
54.2424 | 0
54.2851 | 0
54.3278 | 0
54.3705 | 0
54.4133 | 0
54.4561 | 0
54.4989 | 0
54.5418 | 0
54.5847 | 0
54.6276 | 0
54.6706 | 0
54.7136 | 0
54.7566 | 0
54.7997 | 0
54.8428 | 0
54.8859 | 0
54.9291 | 0
54.9723 | 0
55.0155 | 0
55.0588 | 0
55.1021 | 0
55.1454 | 0
55.1888 | 0
55.2322 | 0
55.2756 | 0
55.3191 | 0
55.3626 | 0
55.4062 | 0
55.4498 | 0
55.4934 | 0
55.537 | 0
55.5807 | 0
55.6244 | 0
55.6682 | 0
55.712 | 0
55.7558 | 0
55.7996 | 0
55.8435 | 0
55.8874 | 0
55.9314 | 0
55.9754 | 0
56.0194 | 0
56.0635 | 0
56.1076 | 0
56.1517 | 0
56.1959 | 0
56.2401 | 0
56.2843 | 0
56.3286 | 0
56.3729 | 0
56.4172 | 0
56.4616 | 0
56.506 | 0
56.5505 | 0
56.5949 | 0
56.6394 | 0
56.684 | 0
56.7286 | 0
56.7732 | 0
56.8179 | 0
56.8625 | 0
56.9073 | 0
56.952 | 0
56.9968 | 0
57.0417 | 0
57.0865 | 0
57.1314 | 0
57.1764 | 0
57.2213 | 0
57.2663 | 0
57.3114 | 0
57.3565 | 0
57.4016 | 0
57.4467 | 0
57.4919 | 0
57.5371 | 0
57.5824 | 0
57.6277 | 0
57.673 | 0
57.7184 | 0
57.7638 | 0
57.8092 | 0
57.8547 | 0
57.9002 | 0
57.9457 | 0
57.9913 | 0
58.0369 | 0
58.0825 | 0
58.1282 | 0
58.174 | 0
58.2197 | 0
58.2655 | 0
58.3113 | 0
58.3572 | 0
58.4031 | 0
58.449 | 0
58.495 | 0
58.541 | 0
58.5871 | 0
58.6331 | 0
58.6793 | 0
58.7254 | 0
58.7716 | 0
58.8178 | 0
58.8641 | 0
58.9104 | 0
58.9567 | 0
59.0031 | 0
59.0495 | 0
59.0959 | 0
59.1424 | 0
59.1889 | 0
59.2355 | 0
59.2821 | 0
59.3287 | 0
59.3754 | 0
59.4221 | 0
59.4688 | 0
59.5156 | 0
59.5624 | 0
59.6093 | 0
59.6561 | 0
59.7031 | 0
59.75 | 0
59.797 | 0
59.8441 | 0
59.8911 | 0
59.9382 | 0
59.9854 | 0
60.0326 | 0
60.0798 | 0
60.127 | 0
60.1743 | 0
60.2217 | 0
60.269 | 0
60.3164 | 0
60.3639 | 0
60.4113 | 0
60.4589 | 0
60.5064 | 0
60.554 | 0
60.6016 | 0
60.6493 | 0
60.697 | 0
60.7447 | 0
60.7925 | 0
60.8403 | 0
60.8882 | 0
60.9361 | 0
60.984 | 0
61.032 | 0
61.08 | 0
61.128 | 0
61.1761 | 0
61.2242 | 0
61.2724 | 0
61.3206 | 0
61.3688 | 0
61.4171 | 0
61.4654 | 0
61.5137 | 0
61.5621 | 0
61.6105 | 0
61.659 | 0
61.7075 | 0
61.756 | 0
61.8046 | 0
61.8532 | 0
61.9019 | 0
61.9505 | 0
61.9993 | 0
62.048 | 0
62.0968 | 0
62.1457 | 0
62.1946 | 0
62.2435 | 0
62.2924 | 0
62.3414 | 0
62.3905 | 0
62.4395 | 0
62.4887 | 0
62.5378 | 0
62.587 | 0
62.6362 | 0
62.6855 | 0
62.7348 | 0
62.7841 | 0
62.8335 | 0
62.8829 | 0
62.9324 | 0
62.9819 | 0
63.0314 | 0
63.081 | 0
63.1306 | 0
63.1803 | 0
63.23 | 0
63.2797 | 0
63.3295 | 0
63.3793 | 0
63.4291 | 0
63.479 | 0
63.529 | 0
63.5789 | 0
63.6289 | 0
63.679 | 0
63.7291 | 0
63.7792 | 0
63.8294 | 0
63.8796 | 0
63.9298 | 0
63.9801 | 0
64.0304 | 0
64.0808 | 0
64.1312 | 0
64.1816 | 0
64.2321 | 0
64.2826 | 0
64.3332 | 0
64.3838 | 0
64.4344 | 0
64.4851 | 0
64.5358 | 0
64.5866 | 0
64.6374 | 0
64.6882 | 0
64.7391 | 0
64.79 | 0
64.841 | 0
64.892 | 0
64.943 | 0
64.9941 | 0
65.0452 | 0
65.0964 | 0
65.1476 | 0
65.1988 | 0
65.2501 | 0
65.3014 | 0
65.3528 | 0
65.4042 | 0
65.4556 | 0
65.5071 | 0
65.5587 | 0
65.6102 | 0
65.6618 | 0
65.7135 | 0
65.7652 | 0
65.8169 | 0
65.8687 | 0
65.9205 | 0
65.9723 | 0
66.0242 | 0
66.0761 | 0
66.1281 | 0
66.1801 | 0
66.2322 | 0
66.2843 | 0
66.3364 | 0
66.3886 | 0
66.4408 | 0
66.493 | 0
66.5453 | 0
66.5977 | 0
66.6501 | 0
66.7025 | 0
66.755 | 0
66.8075 | 0
66.86 | 0
66.9126 | 0
66.9652 | 0
67.0179 | 0
67.0706 | 0
67.1234 | 0
67.1762 | 0
67.229 | 0
67.2819 | 0
67.3348 | 0
67.3878 | 0
67.4408 | 0
67.4938 | 0
67.5469 | 0
67.6 | 0
67.6532 | 0
67.7064 | 0
67.7597 | 0
67.813 | 0
67.8663 | 0
67.9197 | 0
67.9731 | 0
68.0266 | 0
68.0801 | 0
68.1336 | 0
68.1872 | 0
68.2408 | 0
68.2945 | 0
68.3482 | 0
68.402 | 0
68.4558 | 0
68.5096 | 0
68.5635 | 0
68.6174 | 0
68.6714 | 0
68.7254 | 0
68.7795 | 0
68.8336 | 0
68.8877 | 0
68.9419 | 0
68.9961 | 0
69.0504 | 0
69.1047 | 0
69.1591 | 0
69.2135 | 0
69.2679 | 0
69.3224 | 0
69.3769 | 0
69.4315 | 0
69.4861 | 0
69.5407 | 0
69.5954 | 0
69.6502 | 0
69.705 | 0
69.7598 | 0
69.8147 | 0
69.8696 | 0
69.9245 | 0
69.9795 | 0
70.0346 | 0
70.0896 | 0
70.1448 | 0
70.1999 | 0
70.2552 | 0
70.3104 | 0
70.3657 | 0
70.4211 | 0
70.4765 | 0
70.5319 | 0
70.5874 | 0
70.6429 | 0
70.6984 | 0
70.7541 | 0
70.8097 | 0
70.8654 | 0
70.9211 | 0
70.9769 | 0
71.0328 | 0
71.0886 | 0
71.1445 | 0
71.2005 | 0
71.2565 | 0
71.3125 | 0
71.3686 | 0
71.4248 | 0
71.4809 | 0
71.5372 | 0
71.5934 | 0
71.6497 | 0
71.7061 | 0
71.7625 | 0
71.8189 | 0
71.8754 | 0
71.932 | 0
71.9885 | 0
72.0452 | 0
72.1018 | 0
72.1585 | 0
72.2153 | 0
72.2721 | 0
72.3289 | 0
72.3858 | 0
72.4428 | 0
72.4998 | 0
72.5568 | 0
72.6138 | 0
72.671 | 0
72.7281 | 0
72.7853 | 0
72.8426 | 0
72.8999 | 0
72.9572 | 0
73.0146 | 0
73.072 | 0
73.1295 | 0
73.187 | 0
73.2446 | 0
73.3022 | 0
73.3598 | 0
73.4175 | 0
73.4753 | 0
73.5331 | 0
73.5909 | 0
73.6488 | 0
73.7067 | 0
73.7647 | 0
73.8227 | 0
73.8808 | 0
73.9389 | 0
73.997 | 0
74.0552 | 0
74.1135 | 0
74.1718 | 0
74.2301 | 0
74.2885 | 0
74.3469 | 0
74.4054 | 0
74.4639 | 0
74.5225 | 0
74.5811 | 0
74.6398 | 0
74.6985 | 0
74.7573 | 0
74.8161 | 0
74.8749 | 0
74.9338 | 0
74.9927 | 0
75.0517 | 0
75.1107 | 0
75.1698 | 0
75.2289 | 0
75.2881 | 0
75.3473 | 0
75.4066 | 0
75.4659 | 0
75.5253 | 0
75.5847 | 0
75.6441 | 0
75.7036 | 0
75.7632 | 0
75.8228 | 0
75.8824 | 0
75.9421 | 0
76.0018 | 0
76.0616 | 0
76.1214 | 0
76.1813 | 0
76.2412 | 0
76.3012 | 0
76.3612 | 0
76.4212 | 0
76.4814 | 0
76.5415 | 0
76.6017 | 0
76.662 | 0
76.7223 | 0
76.7826 | 0
76.843 | 0
76.9034 | 0
76.9639 | 0
77.0245 | 0
77.085 | 0
77.1457 | 0
77.2064 | 0
77.2671 | 0
77.3279 | 0
77.3887 | 0
77.4495 | 0
77.5105 | 0
77.5714 | 0
77.6324 | 0
77.6935 | 0
77.7546 | 0
77.8158 | 0
77.877 | 0
77.9382 | 0
77.9995 | 0
78.0609 | 0
78.1223 | 0
78.1837 | 0
78.2452 | 0
78.3068 | 0
78.3684 | 0
78.43 | 0
78.4917 | 0
78.5534 | 0
78.6152 | 0
78.677 | 0
78.7389 | 0
78.8009 | 0
78.8628 | 0
78.9249 | 0
78.9869 | 0
79.0491 | 0
79.1112 | 0
79.1735 | 0
79.2357 | 0
79.2981 | 0
79.3604 | 0
79.4229 | 0
79.4853 | 0
79.5478 | 0
79.6104 | 0
79.673 | 0
79.7357 | 0
79.7984 | 0
79.8612 | 0
79.924 | 0
79.9869 | 0
80.0498 | 0
80.1127 | 0
80.1757 | 0
80.2388 | 0
80.3019 | 0
80.3651 | 0
80.4283 | 0
80.4915 | 0
80.5549 | 0
80.6182 | 0
80.6816 | 0
80.7451 | 0
80.8086 | 0
80.8722 | 0
80.9358 | 0
80.9994 | 0
81.0631 | 0
81.1269 | 0
81.1907 | 0
81.2546 | 0
81.3185 | 0
81.3824 | 0
81.4464 | 0
81.5105 | 0
81.5746 | 0
81.6388 | 0
81.703 | 0
81.7673 | 0
81.8316 | 0
81.8959 | 0
81.9603 | 0
82.0248 | 0
82.0893 | 0
82.1539 | 0
82.2185 | 0
82.2832 | 0
82.3479 | 0
82.4127 | 0
82.4775 | 0
82.5424 | 0
82.6073 | 0
82.6723 | 0
82.7373 | 0
82.8024 | 0
82.8675 | 0
82.9327 | 0
82.9979 | 0
83.0632 | 0
83.1285 | 0
83.1939 | 0
83.2593 | 0
83.3248 | 0
83.3904 | 0
83.456 | 0
83.5216 | 0
83.5873 | 0
83.653 | 0
83.7188 | 0
83.7847 | 0
83.8506 | 0
83.9165 | 0
83.9825 | 0
84.0486 | 0
84.1147 | 0
84.1809 | 0
84.2471 | 0
84.3133 | 0
84.3796 | 0
84.446 | 0
84.5124 | 0
84.5789 | 0
84.6454 | 0
84.712 | 0
84.7786 | 0
84.8453 | 0
84.9121 | 0
84.9788 | 0
85.0457 | 0
85.1126 | 0
85.1795 | 0
85.2465 | 0
85.3136 | 0
85.3807 | 0
85.4478 | 0
85.515 | 0
85.5823 | 0
85.6496 | 0
85.717 | 0
85.7844 | 0
85.8519 | 0
85.9194 | 0
85.987 | 0
86.0546 | 0
86.1223 | 0
86.19 | 0
86.2578 | 0
86.3257 | 0
86.3936 | 0
86.4615 | 0
86.5295 | 0
86.5976 | 0
86.6657 | 0
86.7339 | 0
86.8021 | 0
86.8704 | 0
86.9387 | 0
87.0071 | 0
87.0755 | 0
87.144 | 0
87.2125 | 0
87.2811 | 0
87.3498 | 0
87.4185 | 0
87.4872 | 0
87.5561 | 0
87.6249 | 0
87.6938 | 0
87.7628 | 0
87.8318 | 0
87.9009 | 0
87.9701 | 0
88.0393 | 0
88.1085 | 0
88.1778 | 0
88.2472 | 0
88.3166 | 0
88.386 | 0
88.4556 | 0
88.5251 | 0
88.5948 | 0
88.6644 | 0
88.7342 | 0
88.804 | 0
88.8738 | 0
88.9437 | 0
89.0137 | 0
89.0837 | 0
89.1538 | 0
89.2239 | 0
89.2941 | 0
89.3643 | 0
89.4346 | 0
89.5049 | 0
89.5753 | 0
89.6458 | 0
89.7163 | 0
89.7869 | 0
89.8575 | 0
89.9282 | 0
89.9989 | 0
90.0697 | 0
90.1405 | 0
90.2114 | 0
90.2824 | 0
90.3534 | 0
90.4245 | 0
90.4956 | 0
90.5668 | 0
90.638 | 0
90.7093 | 0
90.7806 | 0
90.852 | 0
90.9235 | 0
90.995 | 0
91.0666 | 0
91.1382 | 0
91.2099 | 0
91.2816 | 0
91.3534 | 0
91.4253 | 0
91.4972 | 0
91.5692 | 0
91.6412 | 0
91.7133 | 0
91.7854 | 0
91.8576 | 0
91.9298 | 0
92.0021 | 0
92.0745 | 0
92.1469 | 0
92.2194 | 0
92.2919 | 0
92.3645 | 0
92.4372 | 0
92.5099 | 0
92.5827 | 0
92.6555 | 0
92.7284 | 0
92.8013 | 0
92.8743 | 0
92.9473 | 0
93.0204 | 0
93.0936 | 0
93.1668 | 0
93.2401 | 0
93.3134 | 0
93.3868 | 0
93.4603 | 0
93.5338 | 0
93.6074 | 0
93.681 | 0
93.7547 | 0
93.8284 | 0
93.9022 | 0
93.9761 | 0
94.05 | 0
94.124 | 0
94.198 | 0
94.2721 | 0
94.3462 | 0
94.4204 | 0
94.4947 | 0
94.569 | 0
94.6434 | 0
94.7179 | 0
94.7924 | 0
94.8669 | 0
94.9415 | 0
95.0162 | 0
95.0909 | 0
95.1657 | 0
95.2406 | 0
95.3155 | 0
95.3905 | 0
95.4655 | 0
95.5406 | 0
95.6157 | 0
95.6909 | 0
95.7662 | 0
95.8415 | 0
95.9169 | 0
95.9924 | 0
96.0679 | 0
96.1434 | 0
96.219 | 0
96.2947 | 0
96.3705 | 0
96.4463 | 0
96.5221 | 0
96.598 | 0
96.674 | 0
96.7501 | 0
96.8262 | 0
96.9023 | 0
96.9785 | 0
97.0548 | 0
97.1311 | 0
97.2075 | 0
97.284 | 0
97.3605 | 0
97.4371 | 0
97.5137 | 0
97.5904 | 0
97.6672 | 0
97.744 | 0
97.8209 | 0
97.8978 | 0
97.9748 | 0
98.0519 | 0
98.129 | 0
98.2062 | 0
98.2834 | 0
98.3607 | 0
98.4381 | 0
98.5155 | 0
98.593 | 0
98.6706 | 0
98.7482 | 0
98.8259 | 0
98.9036 | 0
98.9814 | 0
99.0592 | 0
99.1371 | 0
99.2151 | 0
99.2932 | 0
99.3713 | 0
99.4494 | 0
99.5276 | 0
99.6059 | 0
99.6843 | 0
99.7627 | 0
99.8411 | 0
99.9197 | 0
99.9983 | 0